# Results

| Filename | Confidence | Paper Title | Journal | DOI | Category | Therapeutic Area | Medical Condition | Concept of Interest | Outcome Assessment | Comparator Measure | Technology | Make and Model | Wear Location | Algorithm/Analysis Software | Sample Size | Participant Age | Participant Gender. | Sensor(s) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1-s2.0-S1532046414001518-main.pdf | 0.2 | Classifying obstructive sleep apnea using smartphones | Journal of Biomedical Informatics | http://dx.doi.org/10.1016/j.jbi.2014.07.004 | Not Found | Not Found | Obstructive sleep apnea (OSA) | Classifying obstructive sleep apnea using smartphones | Accuracy metrics including sensitivity, specificity, PPV, NPV; AHI comparison with gold standard | Polysomnography (PSG) | Smartphone (Android) | Samsung-Galaxy SII | On patient's arm | Android SDK and Matlab | 15 | Not Found | 14 male, 1 female | Not Found |
| 10.1016@j.jneumeth.2018.02.015.pdf | 0.2 | Essential Tremor Quantiﬁcation Based on the Combined Use of a Smartphone and a Smartwatch: the NetMD study | Journal of Neuroscience Methods | https://doi.org/10.1016/j.jneumeth.2018.02.015 | Not Found | Not Found | Essential Tremor | Tremor quantification using a smartphone and smartwatch | Tremor intensity quantification via root mean square of angular velocity from gyroscopes | Fahn-Tolosa-Marin Tremor Rating Scale (FTM-TRS) | Smartphone and Smartwatch | Sony Smartwatch3 (SW3) | Wrist | Matlab | 34 | 64 years (mean) | Not Found | Not Found |
| 2611062.pdf | 0.6 | Quantifying the relative change in physical activity after Total Knee Arthroplasty using accelerometer based measurements | Not Found | Not Found | Not Found | Total Knee Arthroplasty | Osteoarthritis | Quantifying the relative change in physical activity after Total Knee Arthroplasty | Accelerometer based physical activity measurements | Not Found | Accelerometer based measurement system | Not Found | Not Found | Not Found | Not Found | Not Found | Not Found | Accelerometer |
| Accuracy of Three Activity Monitors in Patients with Chronic Obstructive Pulmonary Disease A Comparison with Video Recordings.pdf | 0.9 | Accuracy of Three Activity Monitors in Patients with Chronic Obstructive Pulmonary Disease: A Comparison with Video Recordings | COPD: Journal of Chronic Obstructive Pulmonary Disease | 10.3109/15412555.2014.898033 | Not Found | Chronic Obstructive Pulmonary Disease (COPD) | Chronic Obstructive Pulmonary Disease (COPD) | Accuracy of activity monitors (steps, body position, activity/inactivity differentiation) in COPD patients | Steps, body position, time spent in different body positions, and ability to differentiate physical activity and inactivity | Video recordings | Activity monitors | DynaPort ADL-monitor, DynaPort MiniMod, SenseWear Armband Pro 3 monitor | Waist (front side) + upper left thigh (DynaPort ADL), Waist (lumbar) (DynaPort MiniMod), Right arm triceps (SenseWear Armband) | Manufacturer's in-house analysis (McRoberts), Inner View PC software (SenseWear) | 15 | 64 (59–69) years | 8 females | Accelerometer(s) (triaxial for DynaPort, biaxial for SenseWear) |
| aghagolzadeh2016.pdf | 0.8 | Predicting Seizures from Local Field Potentials Recorded via Intracortical Microelectrode Arrays | Not Found | Not Found | Not Found | Not Found | Focal epilepsy | Seizure prediction | Seizure detection/prediction performance (80% detection; no false positives) | Not Found | Closed-loop systems for seizure control (using CNNs on LFPs) | Blackrock Microsystems, NeuroPort 10×10 microelectrode array | Middle temporal gyrus | Deep Convolutional Neural Networks (CNNs) | 5 (5 clinical seizures) | Not Found | Not Found | Local field potentials (LFPs) from microelectrode array |
| alharbi2016.pdf | 1.0 | Validation of Fitbit-Flex as a measure of free-living physical activity in a community-based phase III cardiac rehabilitation population | European Journal of Preventive Cardiology | 10.1177/2047487316634883 | Not Found | Cardiac Rehabilitation | Coronary heart disease | Validation of Fitbit-Flex as a measure of free-living physical activity | step counts and minutes of moderate to vigorous physical activity (MVPA) | Actigraph accelerometer | Fitbit-Flex | Fitbit-Flex | Wrist | SPSS | 48 | 65.6 ± 6.9 years | 52.1% males | accelerometer |
| andrzejewski2016.pdf | 0.9 | Wearable Sensors in Huntington Disease: A Pilot Study | Journal of Huntington’s Disease | 10.3233/JHD-160197 | Not Found | Huntington Disease | Huntington Disease | Wearable sensors for motor impairment assessment in Huntington disease | Motor impairment (specifically gait measures) | Control group vs Huntington disease participants | Accelerometer-based wearable sensors | PAMSys-X™ (BioSensics) | Ankles, wrists, and chest | PAMWare™ (BioSensics) | 20 (15 Huntington disease participants, 5 controls) | Mean age of Huntington disease participants: 56.8 ± 6.6 years; Controls: 53.4 ± 20.4 years | Huntington disease: 40% women; Controls: 60% women | Accelerometer-based sensors (chest, ankle, wrist) |
| arefin2015.pdf | 0.8 | QRS Complex Detection in ECG Signal for Wearable Devices | Not Found | Not Found | Not Found | Cardiovascular Disease | Arrhythmias | QRS complex detection | Detection rate, sensitivity, positive predictivity | Pan and Tompkins algorithm, Afonso algorithm | Wearable ECG technology | Not Found | Not Found | Dual slope based QRS detection algorithm | Not Found | Not Found | Not Found | Electrocardiogram (ECG) sensors |
| atallah2014.pdf | 0.9 | Gait asymmetry detection in older adults using a light ear-worn sensor | Physiological Measurement | 10.1088/0967-3334/35/5/N29 | Not Found | Orthopedic surgery and osteoarthritis management | Osteoarthritis, post-hip/knee replacement conditions | Gait asymmetry detection | Gait asymmetry (temporal features: gait cycle time, step-period asymmetry) | Instrumented treadmill (with force plates) | Ear-worn sensor system (3D accelerometer) | Not Found | Ear | Matlab (including peakdet.m for peak detection) | 64 | 60.04 (15.36) | 34 females, 30 males | 3D accelerometer |
| bahr2014.pdf | 0.9 | Miniature ambulatory skin conductance monitor and algorithm for investigating hot flash events | Physiol. Meas. | 10.1088/0967-3334/35/2/95 | Not Found | Not Found | Hot flash (hot flush) | Hot flash detection via skin conductance monitoring | Accuracy of hot flash detection (sensitivity, specificity) | Expert-marked hot flash events | Miniature ambulatory skin conductance monitor | Not Found | Sternum | Matched filter (with multiple kernels) and Artificial Neural Network | 17 (development cohort) and 20 (validation cohort) | 45 to 60 years | Female | Skin conductance sensor |
| bailey2014.pdf | 0.9 | Clinical Accuracy of a Continuous Glucose Monitoring System With an Advanced Algorithm | Journal of Diabetes Science and Technology | 10.1177/1932296814559746 | Not Found | Diabetes | Diabetes | Performance of a modified Dexcom G4 Platinum CGM system with advanced algorithm | Clinical accuracy assessment (compared with YSI venous samples and SMBG) | Frequent venous samples (YSI laboratory reference) and self-monitored blood glucose (SMBG) | Continuous Glucose Monitoring (CGM) system (modified Dexcom G4 Platinum) | Dexcom G4 Platinum | Not Found | Advanced algorithm (modified calibration algorithm) | 51 | Not Found | Not Found | Dexcom G4 Platinum sensor |
| bailey2015.pdf | 0.85 | The Performance and Usability of a Factory-Calibrated Flash Glucose Monitoring System | Not Found | Not Found | Not Found | Diabetes | Type 1 or Type 2 Diabetes | Performance and Usability of Flash Glucose Monitoring System | Accuracy (e.g., percentage within Consensus Error Grid Zone A, mean absolute relative difference) | Capillary blood glucose results (BG meter and YSI analyzer) | FreeStyle Libre Flash glucose monitoring system | FreeStyle Libre (Abbott Diabetes Care) | Back of upper arm | Not Found | 72 | Not Found | Not Found | FreeStyle Libre sensor |
| bailey20140-.pdf | 0.9 | Accuracy and Acceptability of the 6-Day Enlite Continuous Subcutaneous Glucose Sensor | DIABETES TECHNOLOGY & THERAPEUTICS | 10.1089/dia.2013.0222 | Not Found | Diabetes | Diabetes | Performance and acceptability of the 6-Day Enlite Continuous Subcutaneous Glucose Sensor | Accuracy assessment (mean absolute relative difference, ARD; agreement rates; consensus error grid analysis) and acceptability (subject satisfaction questionnaire) | Frequently sampled plasma glucose values (reference method: YSI 2300 STAT Plus glucose and lactate analyzer) | Continuous Subcutaneous Glucose Sensor | Medtronic MiniMed, Inc. Enlite | Abdomen and/or buttock | Not Found | 90 | 18–75 years | 54.4% male, 45.6% female | Enlite glucose sensor |
| banerjee20180?.pdf | 0.2 | Validating a commercial device for continuous activity measurement in the older adult population for dementia management | Smart Health | https://doi.org/10.1016/j.smhl.2017.11.001 | Not Found | Dementia Management | Dementia | Continuous activity measurement for dementia management in older adults | Validation of physiological parameters (heart rate, breathing rate, step count, activity level) against clinical gold standard measures | Clinical gold standard measures (e.g., motion capture system, metabolic cart, Polar Heart rate monitor) | Hexoskin sensor vest | Hexoskin sensor vest | Under-shirt (anatomically closest to right anterior superior iliac spine for activity level) | Not Found | 31 | 65 and older | 12 male, 19 female | Not Found |
| banerjee20180?.pdf | 0.2 | Validating a commercial device for continuous activity measurement in the older adult population for dementia management | Smart Health | https://doi.org/10.1016/j.smhl.2017.11.001 | Not Found | Dementia Management | Dementia | Continuous activity measurement for dementia management in older adults | Validation of physiological parameters (heart rate, breathing rate, step count, activity level) against clinical gold standard measures | Clinical gold standard measures (e.g., motion capture system, metabolic cart, Polar Heart rate monitor) | Hexoskin sensor vest | Hexoskin sensor vest | Under-shirt (anatomically closest to right anterior superior iliac spine for activity level) | Not Found | 31 | 65 and older | 12 male, 19 female | Not Found |
| baque2016.pdf | 0.9 | Reproducibility in measuring physical activity in children and adolescents with an acquired brain injury | Brain Injury | 10.1080/02699052.2016.1201594 | Not Found | Not Found | Acquired Brain Injury | Reproducibility in measuring physical activity | Physical activity performance | Not Found | Accelerometry | ActiGraph® GT3X+ | Waist (mid-axilla line at the level of the anterior superior iliac spine on the side of the body with the least neurological impairment) | ActiLife™v6 and MATLAB scripts | 51 | 8–16 years | Male (20 males in reproducibility tasks, 27 males in variability) | ActiGraph® GT3X+ accelerometer |
| file.pdf | 0.9 | Assessing Sleep Disturbance in Low Back Pain: The Validity of Portable Instruments | PLoS ONE | doi:10.1371/journal.pone.0095824 | Not Found | Low Back Pain | Low Back Pain | Validity of portable instruments for assessing sleep disturbance | Sleep parameters (total sleep time, sleep onset latency, sleep efficiency, wake after sleep onset) | Polysomnography (PSG) | Portable actigraphy devices (Armband and Actiwatch) | BodyMedia SenseWear Armband (SenseWear-Pro3), Philips Respironics Actiwatch 2 | Right upper arm (Armband), non-dominant wrist (Actiwatch) | SenseWear Professional Software (Armband), ActiWare (Actiwatch) | 50 | Mean 42.7 years, SD 15.15 years | 48% female | Accelerometer (for Actiwatch), multi-sensor (accelerometer, skin temperature, GSR, heat flux for Armband) |
| mhealth-2015-3-e78.pdf | 0.85 | Mobile Phone-Connected Wearable Motion Sensors to Assess Postoperative Mobilization | JMIR mHealth uHealth | 10.2196/mhealth.3785 | Not Found | Not Found | Postoperative neurosurgical conditions (spine and cranial surgeries) | Remote monitoring of postoperative mobilization using wearable motion sensors | Accuracy of wearable motion sensors in counting steps during postoperative mobilization | Manual step counting by researchers | FitBit Zip (wearable activity sensor) | FitBit Zip | Hips and Ankles | SPSS version 21 | 27 | Median 57 years (IQR 44-68) | Male: 13 (48%) | FitBit Zip |
| ptj0898.pdf | 0.9 | Reliability of Physical Activity Measures During Free-Living Activities in People After Total Knee Arthroplasty | Phys Ther | 10.2522/ptj.20150407 | Not Found | Not Found | Total Knee Arthroplasty | Physical Activity Measures Reliability | Test-retest reliability of physical activity measures | Actigraph, SenseWear Armband, CHAMPS questionnaire | Accelerometer-based and multisensor technology | Actigraph GT3X, SenseWear Pro-3 | Waist (Actigraph), Upper Arm (SenseWear) | ActiLife 5 (Actigraph), Professional software v6.1 (SenseWear) | 28 | 69 years (SD=8) | 75% women | Accelerometer (Actigraph), Multisensor (SenseWear) |
| sensors-17-02406.pdf | 0.9 | A Wearable Magneto-Inertial System for Gait Analysis (H-Gait): Validation on Normal Weight and Overweight/Obese Young Healthy Adults | Sensors | 10.3390/s17102406 | Not Found | Not Found | Normal weight and overweight/obese young healthy adults | Gait analysis using wearable magneto-inertial system | Spatio-temporal parameters, joint kinematics | STEP32 | Wearable magneto-inertial system | TSDN121 (ATR Promotions, Kyoto, Japan) | Pelvis, shanks (tibia), thighs, ankles (medial malleolus) | Extended Kalman filter (for orientation) and SPSS | 22 | 20-30 years | Male | Magneto-inertial sensors (tri-axial accelerometer, gyroscope, magnetometer) |